## Sheet1
Work_Type | Item_Name | Unit | Norm_Value | Description
Building Cleaning Service | Floor Cleaning Chemical | liters | 0.15 | 0.15 L per sqm
Building Cleaning Service | Glass Cleaning Chemical | liters | 0.1 | 0.10 L per sqm
Building Cleaning Service | Disinfectant | liters | 0.05 | 0.05 L per sqm
Building Cleaning Service | Mops & Buckets | sets | 0.01 | 1 set per 100 sqm
Building Cleaning Service | Scrubbers | numbers | 0.01 | 1 scrubber per 100 sqm
Building Cleaning Service | Cleaning Staff | man-days | 0.02 | 1 worker per 50 sqm
Office Cleaning Service | Floor Cleaner | liters | 0.12 | 0.12 L per sqm
Office Cleaning Service | Surface Cleaner | liters | 0.08 | 0.08 L per sqm
Office Cleaning Service | Dusting Cloths | numbers | 0.05 | 1 cloth per 20 sqm
Office Cleaning Service | Vacuum Cleaner | machine-days | 0.01 | 1 machine per 100 sqm
Office Cleaning Service | Cleaning Staff | man-days | 0.015 | 1 worker per 70 sqm
Industrial Cleaning Service | Industrial Cleaning Chemical | liters | 0.2 | 0.20 L per sqm
Industrial Cleaning Service | Degreasing Agent | liters | 0.15 | 0.15 L per sqm
Industrial Cleaning Service | Protective Gloves | pairs | 1 | 1 pair per worker
Industrial Cleaning Service | Safety Masks | numbers | 1 | 1 mask per worker
Industrial Cleaning Service | High Pressure Jet | machine-days | 0.01 | 1 machine per 100 sqm
Industrial Cleaning Service | Cleaning Crew | man-days | 0.03 | 1 worker per 35 sqm
Hospital Cleaning Service | Hospital Grade Disinfectant | liters | 0.25 | 0.25 L per sqm
Hospital Cleaning Service | Floor Cleaner | liters | 0.2 | 0.20 L per sqm
Hospital Cleaning Service | Disposable Gloves | pairs | 1 | 1 pair per worker
Hospital Cleaning Service | Biohazard Waste Bags | numbers | 0.02 | 1 bag per 50 sqm
Hospital Cleaning Service | Mops & Buckets | sets | 0.01 | 1 set per 100 sqm
Hospital Cleaning Service | Cleaning Staff | man-days | 0.04 | 1 worker per 25 sqm
Post-Construction Cleaning | Debris Removal Bags | numbers | 0.05 | 1 bag per 20 sqm
Post-Construction Cleaning | Floor Cleaning Chemical | liters | 0.18 | 0.18 L per sqm
Post-Construction Cleaning | Glass Cleaner | liters | 0.12 | 0.12 L per sqm
Post-Construction Cleaning | Scrubbing Tools | sets | 0.02 | 1 set per 50 sqm
Post-Construction Cleaning | Vacuum Cleaner | machine-days | 0.01 | 1 machine per 100 sqm
Post-Construction Cleaning | Cleaning Staff | man-days | 0.05 | 1 worker per 20 sqm
Work_Type | Item_Name | Unit | Norm_Value | Description
Internal Electrical Wiring | Copper Electrical Wires | meters | 1 | 1 meter wire per meter run
Internal Electrical Wiring | PVC Conduits | meters | 1 | 1 meter conduit per meter run
Internal Electrical Wiring | Junction Boxes | meters | 0.1 | 1 box per 10 meters
Internal Electrical Wiring | Switch Boxes | meters | 0.1 | 1 box per 10 meters
Internal Electrical Wiring | Insulation Tape | meters | 0.02 | 1 roll per 50 meters
Internal Electrical Wiring | Electrician | man-days | 0.05 | 1 electrician per 20 meters
Lighting Installation | LED Lights / Fixtures | numbers | 1 | 1 fixture per point
Lighting Installation | Wiring Cables | meters | 1 | 1 meter cable per meter run
Lighting Installation | Mounting Accessories | sets | 1 | 1 set per fixture
Lighting Installation | Driver / Ballast | numbers | 1 | 1 driver per fixture
Lighting Installation | Electrician | man-days | 0.05 | 1 electrician per 20 points
Panel Board Installation | Distribution Board | numbers | 1 | 1 per panel
Panel Board Installation | MCB / RCCB / Isolators | numbers | 4 | 4 units per panel
Panel Board Installation | Busbar | numbers | 1 | 1 per panel
Panel Board Installation | Incoming / Outgoing Cables | meters | 2 | 2 meters per connection
Panel Board Installation | Cable Lugs | numbers | 4 | 4 lugs per panel
Panel Board Installation | Electrician | man-days | 0.1 | 1 electrician per 10 panels
Switch & Socket Fitting | Switches | numbers | 1 | 1 per point
Switch & Socket Fitting | Sockets | numbers | 1 | 1 per point
Switch & Socket Fitting | Face Plates | numbers | 1 | 1 per point
Switch & Socket Fitting | Electrician | man-days | 0.05 | 1 electrician per 20 points
Electrical Maintenance Work | Replacement Wires | meters | 1 | 1 meter per meter replaced
Electrical Maintenance Work | Replacement Switches / Sockets | numbers | 1 | 1 per replacement
Electrical Maintenance Work | Fuse / MCB | numbers | 1 | 1 per replacement
Electrical Maintenance Work | Insulation Tape | meters | 0.02 | 1 roll per 50 meters
Electrical Maintenance Work | Hand Tools | machine-days | 0.1 | Tools per job
Electrical Maintenance Work | Electrician | man-days | 0.1 | 1 electrician per job
Work_Type | Item_Name | Unit | Norm_Value | Description
Earthwork & Excavation | Excavated Soil | m3 | 1 | 1.0 m3 per unit work
Earthwork & Excavation | Borrow Soil | m3 | 1 | 1.0 m3 per unit work
Earthwork & Excavation | Selected Earth | m3 | 1 | 1.0 m3 per unit work
Earthwork & Excavation | Water | liters | 12 | 12.0 liters per unit work
Earthwork & Excavation | Anti-termite Chemical | liters | 0.75 | 0.75 liters per unit work
Earthwork & Excavation | Excavator | machine-days | 0.0033 | 0.0033 machine-days per unit work
Earthwork & Excavation | Tipper Truck | machine-days | 0.0012 | 0.0012 machine-days per unit work
Earthwork & Excavation | Unskilled Labor | man-days | 0.2 | 0.2 man-days per unit work
Filling & Compaction | Selected Earth | m3 | 1 | 1.0 m3 per unit work
Filling & Compaction | Moorum / Gravel | m3 | 1 | 1.0 m3 per unit work
Filling & Compaction | Sand | m3 | 1 | 1.0 m3 per unit work
Filling & Compaction | Water | liters | 8 | 8.0 liters per unit work
Filling & Compaction | Vibratory Roller | machine-days | 0.001 | 0.001 machine-days per unit work
Filling & Compaction | Unskilled Labor | man-days | 0.15 | 0.15 man-days per unit work
PCC Work | Cement | bags | 5.5 | 5.5 bags per unit work
PCC Work | Sand | m3 | 0.45 | 0.45 m3 per unit work
PCC Work | Coarse Aggregate | m3 | 0.85 | 0.85 m3 per unit work
PCC Work | Water | liters | 160 | 160.0 liters per unit work
PCC Work | Admixture | liters | 1 | 1.0 liters per unit work
PCC Work | Concrete Mixer | machine-days | 0.003 | 0.003 machine-days per unit work
PCC Work | Mason | man-days | 0.1 | 0.1 man-days per unit work
RCC Work | Cement | bags | 8.2 | 8.2 bags per unit work
RCC Work | Sand | m3 | 0.5 | 0.5 m3 per unit work
RCC Work | Coarse Aggregate | m3 | 0.85 | 0.85 m3 per unit work
RCC Work | Reinforcement Steel | kg | 110 | 110.0 kg per unit work
RCC Work | Binding Wire | kg | 1.1 | 1.1 kg per unit work
RCC Work | Admixture | liters | 1.2 | 1.2 liters per unit work
RCC Work | Shuttering Plates / Plywood | sqft | 1.05 | 1.05 sqft per unit work
RCC Work | Shuttering Oil | liters | 0.015 | 0.015 liters per unit work
RCC Work | Cover Blocks | numbers | 20 | 20.0 numbers per unit work
RCC Work | Curing Compound | liters | 1 | 1.0 liters per unit work
RCC Work | Concrete Pump | machine-days | 0.002 | 0.002 machine-days per unit work
RCC Work | Skilled Labor | man-days | 0.2 | 0.2 man-days per unit work
Masonry Work | Bricks / Concrete Blocks | numbers | 500 | 500.0 numbers per unit work
Masonry Work | Cement | bags | 4.5 | 4.5 bags per unit work
Masonry Work | Sand | m3 | 0.5 | 0.5 m3 per unit work
Masonry Work | Water | liters | 25 | 25.0 liters per unit work
Masonry Work | Mortar Admixture | liters | 0.5 | 0.5 liters per unit work
Masonry Work | Scaffolding | machine-days | 0.0008 | 0.0008 machine-days per unit work
Masonry Work | Mason | man-days | 0.3 | 0.3 man-days per unit work
Drainage Construction | Cement | bags | 6.5 | 6.5 bags per unit work
Drainage Construction | Sand | m3 | 0.5 | 0.5 m3 per unit work
Drainage Construction | Aggregate | m3 | 0.9 | 0.9 m3 per unit work
Drainage Construction | RCC / PVC Pipes | meters | 1 | 1.0 meters per unit work
Drainage Construction | Pipe Jointing Compound | kg | 0.15 | 0.15 kg per unit work
Drainage Construction | Manhole Covers | numbers | 1 | 1.0 numbers per unit work
Drainage Construction | Filter Gravel | m3 | 1 | 1.0 m3 per unit work
Drainage Construction | Geotextile Fabric | sqm | 1.05 | 1.05 sqm per unit work
Drainage Construction | Excavator | machine-days | 0.002 | 0.002 machine-days per unit work
Drainage Construction | Unskilled Labor | man-days | 0.2 | 0.2 man-days per unit work
Culvert Construction | Cement | bags | 8.2 | 8.2 bags per unit work
Culvert Construction | Sand | m3 | 0.5 | 0.5 m3 per unit work
Culvert Construction | Aggregate | m3 | 0.85 | 0.85 m3 per unit work
Culvert Construction | Reinforcement Steel | kg | 120 | 120.0 kg per unit work
Culvert Construction | Precast RCC Pipes | numbers | 1 | 1.0 numbers per unit work
Culvert Construction | Pipe Jointing Compound | kg | 0.2 | 0.2 kg per unit work
Culvert Construction | Concrete Rings | numbers | 1 | 1.0 numbers per unit work
Culvert Construction | Excavator | machine-days | 0.0025 | 0.0025 machine-days per unit work
Culvert Construction | Skilled Labor | man-days | 0.25 | 0.25 man-days per unit work
Retaining Wall Construction | Cement | bags | 8.2 | 8.2 bags per unit work
Retaining Wall Construction | Sand | m3 | 0.5 | 0.5 m3 per unit work
Retaining Wall Construction | Aggregate | m3 | 0.85 | 0.85 m3 per unit work
Retaining Wall Construction | Reinforcement Steel | kg | 130 | 130.0 kg per unit work
Retaining Wall Construction | Stone / Concrete Blocks | m3 | 1 | 1.0 m3 per unit work
Retaining Wall Construction | Drainage Weep Pipes | meters | 1 | 1.0 meters per unit work
Retaining Wall Construction | Geotextile Fabric | sqm | 1.05 | 1.05 sqm per unit work
Retaining Wall Construction | Concrete Mixer | machine-days | 0.003 | 0.003 machine-days per unit work
Retaining Wall Construction | Skilled Labor | man-days | 0.25 | 0.25 man-days per unit work
Footpath / Kerb Stone Work | Kerb Stones | numbers | 1 | 1.0 numbers per unit work
Footpath / Kerb Stone Work | Paver Blocks | sqft | 1.05 | 1.05 sqft per unit work
Footpath / Kerb Stone Work | Bedding Sand | m3 | 0.02 | 0.02 m3 per unit work
Footpath / Kerb Stone Work | Joint Sand | kg | 0.08 | 0.08 kg per unit work
Footpath / Kerb Stone Work | Edge Restraints | meters | 1 | 1.0 meters per unit work
Footpath / Kerb Stone Work | Water | liters | 0.5 | 0.5 liters per unit work
Footpath / Kerb Stone Work | Unskilled Labor | man-days | 0.01 | 0.01 man-days per unit work
Storm Water Drain Work | Cement | bags | 6.5 | 6.5 bags per unit work
Storm Water Drain Work | Sand | m3 | 0.5 | 0.5 m3 per unit work
Storm Water Drain Work | Aggregate | m3 | 0.9 | 0.9 m3 per unit work
Storm Water Drain Work | RCC Drain Pipes | meters | 1 | 1.0 meters per unit work
Storm Water Drain Work | Precast Drain Covers | numbers | 1 | 1.0 numbers per unit work
Storm Water Drain Work | Pipe Jointing Compound | kg | 0.15 | 0.15 kg per unit work
Storm Water Drain Work | Geotextile Fabric | sqm | 1.05 | 1.05 sqm per unit work
Storm Water Drain Work | Excavator | machine-days | 0.002 | 0.002 machine-days per unit work
Storm Water Drain Work | Unskilled Labor | man-days | 0.2 | 0.2 man-days per unit work
Work_Type | Item_Name | Unit | Norm_Value | Description
Painting Work | Primer | liters | 0.08 | 0.08 liters per sqft
Painting Work | Interior Paint | liters | 0.12 | 0.12 liters per sqft
Painting Work | Putty | kg | 0.1 | 0.10 kg per sqft
Painting Work | Thinner | liters | 0.02 | 0.02 liters per sqft
Painting Work | Sandpaper | numbers | 0.02 | 1 sheet per 50 sqft
Painting Work | Roller Brush | numbers | 0.002 | 1 roller per 500 sqft
Painting Work | Painter | man-days | 0.0033333 | 1 painter per 300 sqft
Flooring Work | Floor Tiles | sqft | 1 | 1 sqft tile per sqft
Flooring Work | Tile Adhesive | kg | 0.25 | 0.25 kg per sqft
Flooring Work | Grout | kg | 0.05 | 0.05 kg per sqft
Flooring Work | Levelling Compound | kg | 0.1 | 0.10 kg per sqft
Flooring Work | Tile Cutter | machine-days | 0.00125 | 1 machine-day per 800 sqft
Flooring Work | Tile Mason | man-days | 0.004 | 1 mason per 250 sqft
False Ceiling Work | Gypsum Boards | sqft | 1 | 1 sqft board per sqft
False Ceiling Work | GI Channels | meters | 0.3 | 0.3 meters per sqft
False Ceiling Work | Hanging Wire | kg | 0.02 | 0.02 kg per sqft
False Ceiling Work | Screws | numbers | 2 | 2 screws per sqft
False Ceiling Work | Jointing Compound | kg | 0.1 | 0.1 kg per sqft
False Ceiling Work | Ceiling Framework | machine-days | 0.0016667 | 1 machine-day per 600 sqft
False Ceiling Work | Skilled Labor | man-days | 0.0025 | 1 worker per 400 sqft
Carpentry Work | Plywood | sqft | 1 | 1 sqft per sqft
Carpentry Work | Laminates | sqft | 1.05 | 1.05 sqft per sqft
Carpentry Work | Wood Adhesive | kg | 0.08 | 0.08 kg per sqft
Carpentry Work | Screws | numbers | 2 | 2 screws per sqft
Carpentry Work | Nails | kg | 0.02 | 0.02 kg per sqft
Carpentry Work | Carpenter | man-days | 0.004 | 1 carpenter per 250 sqft
Modular Kitchen Installation | Kitchen Cabinets | sqft | 1.05 | 1.05 sqft per sqft
Modular Kitchen Installation | Countertop | sqft | 1.02 | 1.02 sqft per sqft
Modular Kitchen Installation | Hinges & Fittings | sets | 1 | 1 set per unit
Modular Kitchen Installation | Drawer Channels | sets | 1 | 1 set per unit
Modular Kitchen Installation | Fasteners | numbers | 3 | 3 fasteners per unit
Modular Kitchen Installation | Skilled Installer | man-days | 0.005 | 1 installer per 200 sqft
Wardrobe / Storage Installation | Wardrobe Panels | sqft | 1.05 | 1.05 sqft per sqft
Wardrobe / Storage Installation | Shelves | sqft | 1 | 1 sqft per sqft
Wardrobe / Storage Installation | Handles & Fittings | sets | 1 | 1 set per unit
Wardrobe / Storage Installation | Fasteners | numbers | 3 | 3 fasteners per unit
Wardrobe / Storage Installation | Carpenter | man-days | 0.005 | 1 carpenter per 200 sqft
Glass Partition Work | Toughened Glass | sqft | 1.03 | 1.03 sqft per sqft
Glass Partition Work | Aluminium Frame | meters | 0.4 | 0.4 meters per sqft
Glass Partition Work | Rubber Beading | meters | 0.3 | 0.3 meters per sqft
Glass Partition Work | Sealant | liters | 0.01 | 0.01 liters per sqft
Glass Partition Work | Glass Installer | man-days | 0.0033333 | 1 installer per 300 sqft
Wallpaper Work | Wallpaper / Panels | sqft | 1.05 | 1.05 sqft per sqft
Wallpaper Work | Adhesive | kg | 0.05 | 0.05 kg per sqft
Wallpaper Work | Primer | liters | 0.02 | 0.02 liters per sqft
Wallpaper Work | Applicator Tools | machine-days | 0.002 | 1 machine-day per 500 sqft
Wallpaper Work | Installer | man-days | 0.005 | 1 installer per 200 sqft
Work_Type | Item_Name | Unit | Norm_Value | Description
Civil Maintenance Work | Cement | bags | 0.2 | 0.2 bags per sqm patchwork
Civil Maintenance Work | Sand | m3 | 0.015 | 15 liters per sqm small repair
Civil Maintenance Work | Ready Mix Mortar | kg | 8 | 8 kg per sqm
Civil Maintenance Work | Crack Filling Compound | kg | 0.2 | 0.2 kg per meter crack
Civil Maintenance Work | Waterproofing Chemical | liters | 0.15 | 150 ml per sqm
Civil Maintenance Work | Hand Tools | machine-days | 1 | 1 day per job
Civil Maintenance Work | Maintenance Worker | man-days | 1 | 1 worker per 300 sqft
Plumbing Maintenance | Replacement Pipes | meters | 1 | 1:1 replacement
Plumbing Maintenance | Pipe Fittings | numbers | 1 | 1 per joint
Plumbing Maintenance | Sealant | liters | 0.02 | 20 ml per joint
Plumbing Maintenance | Thread Seal Tape | rolls | 1 | 1 roll per 50 joints
Plumbing Maintenance | Hand Tools | machine-days | 1 | 1 day per job
Plumbing Maintenance | Plumber | man-days | 1 | 1 plumber per job
Electrical Maintenance | Replacement Wires | meters | 1 | 1:1 replacement
Electrical Maintenance | Replacement Switches / Sockets | numbers | 1 | 1:1 replacement
Electrical Maintenance | Fuse / MCB | numbers | 1 | 1:1 replacement
Electrical Maintenance | Insulation Tape | rolls | 1 | 1 roll per job
Electrical Maintenance | Hand Tools | machine-days | 1 | 1 tool set per job
Electrical Maintenance | Electrician | man-days | 1 | 1 electrician per job
HVAC Maintenance | Refrigerant Gas | kg | 0.75 | 0.75 kg per ton AC
HVAC Maintenance | Air Filters | numbers | 1 | 1 filter per AC
HVAC Maintenance | Lubricating Oil | liters | 0.1 | 100 ml per AC
HVAC Maintenance | Cleaning Chemical | liters | 0.2 | 200 ml per AC
HVAC Maintenance | Service Tools | machine-days | 1 | 1 day per job
HVAC Maintenance | HVAC Technician | man-days | 1 | 1 technician per job
Painting Maintenance | Paint | liters | 0.1 | 100 ml per sqft
Painting Maintenance | Primer | liters | 0.06 | 60 ml per sqft
Painting Maintenance | Putty | kg | 0.25 | 0.25 kg per sqft
Painting Maintenance | Thinner | liters | 0.1 | 10% dilution
Painting Maintenance | Roller / Brush | numbers | 1 | 1 per 500 sqft
Painting Maintenance | Painter | man-days | 1 | 1 painter per 400 sqft
Work_Type | Item_Name | Unit | Norm_Value | Description
Water Supply Pipeline Work | PVC / CPVC Pipes | meters | 1 | 1 meter pipe per meter
Water Supply Pipeline Work | Pipe Fittings (Elbow, Tee, Coupler) | numbers | 1 | 1 fitting per joint
Water Supply Pipeline Work | Valves | numbers | 1 | 1 valve per installation
Water Supply Pipeline Work | Pipe Adhesive / Solvent Cement | liters | 0.02 | 20 ml per joint
Water Supply Pipeline Work | Thread Seal Tape | rolls | 0.02 | 1 roll per 50 joints
Water Supply Pipeline Work | Pipe Clamps | numbers | 1 | 1 clamp per pipe support
Water Supply Pipeline Work | Plumber | man-days | 1 | 1 plumber per job
Drainage Pipeline Work | PVC / UPVC Drain Pipes | meters | 1 | 1:1 replacement
Drainage Pipeline Work | Pipe Fittings (Bend, Tee) | numbers | 1 | 1 fitting per joint
Drainage Pipeline Work | Rubber Rings / Jointing Compound | kg | 0.05 | 50 g per joint
Drainage Pipeline Work | Inspection Chamber Covers | numbers | 1 | 1 cover per chamber
Drainage Pipeline Work | Sand Bedding | m3 | 0.1 | 0.1 m3 per meter pipe
Drainage Pipeline Work | Plumber | man-days | 1 | 1 plumber per job
Bathroom Plumbing Work | CPVC / GI Pipes | meters | 1 | 1 meter pipe per meter
Bathroom Plumbing Work | Concealed Valves | numbers | 1 | 1 per valve installation
Bathroom Plumbing Work | Angle Valves | numbers | 1 | 1 per valve installation
Bathroom Plumbing Work | Health Faucets | numbers | 1 | 1 health faucet per installation
Bathroom Plumbing Work | Wash Basin / WC Connectors | numbers | 1 | 1 connector per fitting
Bathroom Plumbing Work | Plumber | man-days | 1 | 1 plumber per bathroom job
Kitchen Plumbing Work | Water Supply Pipes | meters | 1 | 1 meter pipe per meter
Kitchen Plumbing Work | Waste Water Pipes | meters | 1 | 1 meter per meter
Kitchen Plumbing Work | Sink Trap | numbers | 1 | 1 trap per sink
Kitchen Plumbing Work | Angle Valve | numbers | 1 | 1 per valve
Kitchen Plumbing Work | Pipe Adhesive | liters | 0.02 | 20 ml per joint
Kitchen Plumbing Work | Plumber | man-days | 1 | 1 plumber per job
Plumbing Repair & Maintenance | Replacement Pipes | meters | 1 | 1 meter replacement
Plumbing Repair & Maintenance | Pipe Fittings | numbers | 1 | 1 replacement
Plumbing Repair & Maintenance | Sealant | liters | 0.02 | 20 ml per joint
Plumbing Repair & Maintenance | Thread Seal Tape | rolls | 0.02 | 1 roll per 50 joints
Plumbing Repair & Maintenance | Hand Tools | machine-days | 1 | 1 tool set per job
Plumbing Repair & Maintenance | Plumber | man-days | 1 | 1 plumber per job
Overhead Tank Pipeline Connection | GI / CPVC Pipes | meters | 1 | 1 meter pipe per meter
Overhead Tank Pipeline Connection | Ball Valve / Float Valve | numbers | 1 | 1 per valve installation
Overhead Tank Pipeline Connection | Pipe Fittings | numbers | 1 | 1 per joint
Overhead Tank Pipeline Connection | Pipe Clamps | numbers | 1 | 1 per support
Overhead Tank Pipeline Connection | Thread Seal Tape | rolls | 0.02 | 1 roll per 50 joints
Overhead Tank Pipeline Connection | Plumber | man-days | 1 | 1 plumber per job
Work_Type | Item_Name | Unit | Norm_Value | Description
Flexible Pavement Road Construction | Earthwork | m3 | 1 | 1 m3 excavation per m3
Flexible Pavement Road Construction | GSB | m3 | 1.05 | 5% allowance
Flexible Pavement Road Construction | WMM | m3 | 1.05 | 5% allowance
Flexible Pavement Road Construction | Bitumen | tons | 0.055 | 55 kg per sqm
Flexible Pavement Road Construction | Bitumen Emulsion | liters | 1.2 | 1.2 L per sqm tack coat
Flexible Pavement Road Construction | Aggregate (20mm) | m3 | 0.9 | 0.9 m3 per m3
Flexible Pavement Road Construction | Aggregate (40mm) | m3 | 0.9 | 0.9 m3 per m3
Flexible Pavement Road Construction | Paver Finisher | machine-days | 1 | 1 per 800 sqm
Flexible Pavement Road Construction | Road Roller | machine-days | 1 | 1 per 600 sqm
Flexible Pavement Road Construction | Tipper Truck | machine-days | 1 | 1 per 50 m3
Flexible Pavement Road Construction | Unskilled Labor | man-days | 0.04 | 1 labor per 25 sqm
Rigid Pavement (Concrete Road) | Cement | bags | 0.15 | 0.15 bags per sqft
Rigid Pavement (Concrete Road) | Sand | m3 | 0.05 | 0.05 m3 per sqft
Rigid Pavement (Concrete Road) | Coarse Aggregate | m3 | 0.1 | 0.1 m3 per sqft
Rigid Pavement (Concrete Road) | Reinforcement Steel | kg | 3.5 | 3.5 kg per sqft
Rigid Pavement (Concrete Road) | Dowel Bars | kg | 0.25 | 0.25 kg per sqft
Rigid Pavement (Concrete Road) | Tie Bars | kg | 0.22 | 0.22 kg per sqft
Rigid Pavement (Concrete Road) | Admixture | liters | 0.04 | 0.04 L per sqft
Rigid Pavement (Concrete Road) | Shuttering Plates | sqft | 0.1 | 10%
Rigid Pavement (Concrete Road) | Concrete Paver | machine-days | 1 | 1 per 600 sqft
Rigid Pavement (Concrete Road) | Road Roller | machine-days | 1 | 1 per 800 sqft
Rigid Pavement (Concrete Road) | Skilled Labor | man-days | 0.05 | 1 per 20 sqft
Road Widening Work | Earthwork | m3 | 1 | 1:01
Road Widening Work | GSB | m3 | 1.05 | 5%
Road Widening Work | WMM | m3 | 1.05 | 5%
Road Widening Work | Bitumen | tons | 0.055 | 55 kg per sqm
Road Widening Work | Aggregate | m3 | 0.9 | 0.9 m3
Road Widening Work | Road Roller | machine-days | 0.0016 | 1 per 600 sqm
Road Widening Work | Paver Finisher | machine-days | 0.00125 | 1 per 50 m3
Road Widening Work | Unskilled Labor | man-days | 0.04 | 1 per 25 sqm
Road Resurfacing / Overlay | Bitumen | tons | 0.055 | 55 kg per sqm
Road Resurfacing / Overlay | Bitumen Emulsion | liters | 1.2 | 1.2 L per sqm
Road Resurfacing / Overlay | Aggregate | m3 | 0.85 | 0.85 per sqm
Road Resurfacing / Overlay | Milling Machine | machine-days | 0.004 | 1 per 250 sqm
Road Resurfacing / Overlay | Paver Finisher | machine-days | 0.00125 | 1 per 800 sqm
Road Resurfacing / Overlay | Road Roller | machine-days | 0.0016 | 1 per 600 sqm
Road Resurfacing / Overlay | Unskilled Labor | man-days | 0.04 | 1 per 25 sqm
Shoulder Construction | Selected Earth | m3 | 1 | 1:01
Shoulder Construction | Moorum / Gravel | m3 | 1 | 1:01
Shoulder Construction | Water | liters | 12 | 12 L per sqm
Shoulder Construction | Vibratory Roller | machine-days | 1 | 1 per 800 sqm
Shoulder Construction | Unskilled Labor | man-days | 0.04 | 1 per 25 sqm
Pot Hole Repair | Cold Mix Bitumen | kg | 22 | 22 kg per sqm
Pot Hole Repair | Aggregate | kg | 30 | 30 kg per sqm
Pot Hole Repair | Bitumen Emulsion | liters | 1.5 | 1.5 L per sqm
Pot Hole Repair | Hand Tools | machine-days | 1 | 1 per job
Pot Hole Repair | Unskilled Labor | man-days | 0.1 | 1 per 10 sqm
Road Marking & Signage | Thermoplastic Paint | kg | 3.5 | 3.5 kg per sqm
Road Marking & Signage | Glass Beads | kg | 0.3 | 0.3 kg per sqm
Road Marking & Signage | Primer | liters | 0.15 | 0.15 L per sqm
Road Marking & Signage | Road Marking Machine | machine-days | 1 | 1 per 600 sqm
Road Marking & Signage | Sign Boards | numbers | 1 | 1 per board
Road Marking & Signage | Skilled Labor | man-days | 0.04 | 1 per 25 sqm
Work_Type | Item_Name | Unit | Norm_Value | Description
Overhead Tank Cleaning | Cleaning Chemicals | liters | 0.8 | 0.8 liters per 1000 liters
Overhead Tank Cleaning | Disinfectant | liters | 0.5 | 0.5 liters per 1000 liters
Overhead Tank Cleaning | Bleaching Powder | kg | 0.3 | 0.3 kg per 1000 liters
Overhead Tank Cleaning | Scrub Brushes | numbers | 1 | 1 per job
Overhead Tank Cleaning | Safety Gloves | pairs | 1 | 1 per job
Overhead Tank Cleaning | Safety Masks | numbers | 1 | 1 per job
Overhead Tank Cleaning | Water Pump | machine-days | 0.5 | 0.5 machine-day per job
Overhead Tank Cleaning | Cleaning Staff | man-days | 0.0002 | 1 man-day per 5000 liters
Underground Tank Cleaning | Cleaning Chemicals | liters | 0.8 | 0.8 liters per 1000 liters
Underground Tank Cleaning | Disinfectant | liters | 0.5 | 0.5 liters per 1000 liters
Underground Tank Cleaning | Bleaching Powder | kg | 0.3 | 0.3 kg per 1000 liters
Underground Tank Cleaning | Sludge Removal Bags | numbers | 0.0005 | 1 bag/set per 2000 liters
Underground Tank Cleaning | Safety Harness | sets | 1 | 1 per job
Underground Tank Cleaning | Ventilation Blower | machine-days | 0.5 | 0.5 machine-day per job
Underground Tank Cleaning | Cleaning Staff | man-days | 0.0002 | 1 man-day per 5000 liters
Sump Cleaning | Cleaning Chemicals | liters | 0.8 | 0.8 liters per 1000 liters
Sump Cleaning | Disinfectant | liters | 0.5 | 0.5 liters per 1000 liters
Sump Cleaning | Bleaching Powder | kg | 0.3 | 0.3 kg per 1000 liters
Sump Cleaning | Sludge Removal Tools | sets | 0.0005 | 1 bag/set per 2000 liters
Sump Cleaning | Water Pump | machine-days | 0.5 | 0.5 machine-day per job
Sump Cleaning | Cleaning Staff | man-days | 0.0002 | 1 man-day per 5000 liters
Industrial Tank Cleaning | Industrial Cleaning Chemicals | liters | 0.8 | 0.8 liters per 1000 liters
Industrial Tank Cleaning | Degreasing Agent | liters | 1 | 1 per job
Industrial Tank Cleaning | Neutralizing Agent | liters | 1 | 1 per job
Industrial Tank Cleaning | Safety Suit (PPE) | sets | 1 | 1 per job
Industrial Tank Cleaning | Gas Detector | machine-days | 1 | 1 per job
Industrial Tank Cleaning | High Pressure Jet | machine-days | 0.5 | 0.5 machine-day per job
Industrial Tank Cleaning | Trained Cleaning Crew | man-days | 0.00025 | 1 man-day per 4000 liters
Septic Tank Cleaning | Deodorizing Chemical | liters | 1 | 1 per job
Septic Tank Cleaning | Disinfectant | liters | 0.5 | 0.5 liters per 1000 liters
Septic Tank Cleaning | Lime Powder | kg | 1 | 1 per job
Septic Tank Cleaning | Sludge Collection Bags | numbers | 0.0005 | 1 bag/set per 2000 liters
Septic Tank Cleaning | Suction Pump | machine-days | 0.5 | 0.5 machine-day per job
Septic Tank Cleaning | Cleaning Staff | man-days | 0.0002 | 1 man-day per 5000 liters
Water Reservoir Cleaning | Cleaning Chemicals | liters | 0.8 | 0.8 liters per 1000 liters
Water Reservoir Cleaning | Disinfectant | liters | 0.5 | 0.5 liters per 1000 liters
Water Reservoir Cleaning | Bleaching Powder | kg | 0.3 | 0.3 kg per 1000 liters
Water Reservoir Cleaning | Scrubbing Equipment | sets | 1 | 1 per job
Water Reservoir Cleaning | High Capacity Pump | machine-days | 0.5 | 0.5 machine-day per job
Water Reservoir Cleaning | Cleaning Staff | man-days | 0.0002 | 1 man-day per 5000 liters
Painting Work | Primer | liters | 0.08 | 0.08 liters per sqft (Material)
Painting Work | Interior Paint | liters | 0.12 | 0.12 liters per sqft (Material)
Painting Work | Putty | kg | 0.1 | 0.10 kg per sqft (Material)
Painting Work | Thinner | liters | 0.02 | 0.02 liters per sqft (Material)
Painting Work | Sandpaper | numbers | 0.02 | 1 sheet per 50 sqft (Material)
Painting Work | Roller_Brush | numbers | 0.002 | 1 roller per 500 sqft (Material)
Painting Work | Painter | man-day | 0.003333 | 1 painter per 300 sqft (Labour)